# Major Event Risk Assessment Checklist

# Event Details

| Event Name: |  |
| --- | --- |
| Event Description: |  |
| Campus: |  |
| Proposed Venue or Location (description): |  |
| Location Address: |  |
| Proposed Event Date (From): |  |
| Proposed Event Date (To): |  |
| Estimated Attendance: |  |
| Total Attendance (multi-day events): |  |

# Event Organiser Details

| Portfolio/Group: |  |
| --- | --- |
| Address: |  |
| Main Contact Person: |  |
| Position: |  |
| Telephone: |  |
| Facsimile: |  |
| Mobile: |  |
| Email: |  |

# Key Event Contacts (complete all relevant contacts – internal and external)

| Name | Role | Responsibility | Contact Details |
| --- | --- | --- | --- |
|  | Event Manager (if different from above) | Overall responsibility for event |  |
|  | Health and Safety | Risk assessments, legal compliance, fire points, site inspections |  |

# Other Key Contacts

Suppliers (e.g. marquees, catering, etc.)

| Organisation | Contact Name | Service | Contact Details | Notes |
| --- | --- | --- | --- | --- |

Authorities (fire, police, first aid, etc.)

| Organisation | Contact Name | Service | Contact Details | Notes |
| --- | --- | --- | --- | --- |

Artists/Entertainment

| Organisation | Contact Name | Service | Contact Details | Notes |
| --- | --- | --- | --- | --- |

Venue Contact Details – Internal and External Venues

| Name: | Email: |
| --- | --- |
| Phone: | Mobile: |
| Venue Contact Date: / / | Venue Contact Method: |
| Venue Paperwork Sent: | Venue Hire Response: |

Additional requirements/negotiations:

# Event Task List

Production Schedule Event:  Prior to Event Day

| Date | Task | Start | Finish | Resources/who | Notes | In Hand | Complete |
| --- | --- | --- | --- | --- | --- | --- | --- |

Production Schedule Event:  Event Day

| Date | Task | Start | Finish | Resources/who | Notes | In Hand | Complete |
| --- | --- | --- | --- | --- | --- | --- | --- |

Production Schedule Event:  Post Event

| Date | Task | Start | Finish | Resources/who | Notes | In Hand | Complete |
| --- | --- | --- | --- | --- | --- | --- | --- |

# Event Run Sheet

Stage and arena programme for event

| Time |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |

# Event Costs

| Budget: | Portfolio/Group: |
| --- | --- |
| Budget Code: | Portfolio/Group approval for event: |
| Name: | Signature: |
| Higher level approval (larger events): |  |

# Signage/Event Marketing

| Website information: | Yes No |
| --- | --- |
| Date requested/loaded: | / / |
| For further information, contact: |  |
| Materials required: |  |
| Flyer: | Size Quantity |
| Poster: | Size Quantity |
| Banner: | Size Quantity |
| Logo: | Size Quantity |
| Other: | Size Quantity |
| Poster Creation: | Yes No |
| Date material required by: | / / |
| Location of advertising material: |  |

# Public Liability Insurance

If an event uses or contracts any external companies/vendors/service providers or volunteer/ information providers they must produce a copy of their public liability insurance ($10 million minimum) and have this approved prior to coming on campus.

Please attach a copy of the certificate of currency

| Group | Certificate Attached | Date of Issue |
| --- | --- | --- |
|  | Yes | / / |
|  | Yes | / / |
|  | Yes | / / |
|  | Yes | / / |

# Event Site and Safety Plan

The following checklist will provide prompts for what should be considered on campus for the event and which must be addressed in your event organising process.  It will also enable you to document your event safety plan at the same time.

Details of requests for vehicles on campus and parking must be presented to Campus Services (Parking Office).

While the safety checklist covers the most common and typical health and safety issues that arise during event management, it is not completely exhaustive.

Event organisers should identify, assess and control any additional hazards/risks for each event, and document information on the Risk Assessment pages – Appendix 1 – Risk.

# Safety Checklist for Events

| Hazards/Issues or Tasks | Applies/ Checked | Additional Actions Required |
| --- | --- | --- |
| ## Event Access and Egress |  |  |
| Entry/exit areas are clear and accessible for staff and expected attendees |  |  |
| Entry/exit areas are adequate for emergency exit and emergency services |  |  |
| Thoroughfares are well defined and clearly marked |  |  |
| ## Traffic Flow |  |  |
| Vehicle access onto campus grounds is required for set up and dismantling (bump in/out) |  |  |
| Time in Time Out Vehicle details |  |  |
| Time in Time Out Vehicle details |  |  |
| Time in Time Out Vehicle details |  |  |
| Clearly defined areas/paths for traffic – separated from pedestrian thoroughfare |  |  |
| Provision for safe passage of emergency/other vehicles through pedestrian traffic |  |  |
| Controlled traffic flow and adequate signage for traffic erected |  |  |
| Traffic management staff wear appropriate high visibility protection and carry communication devices |  |  |
| Adequate parking areas to cater for the expected vehicle numbers attending the event |  |  |
| Adequate parking supervision |  |  |
| Adequate training of traffic management staff, and are traffic management staff position in the correct location, as planned |  |  |
| All necessary permits and certification/licensing for traffic management obtained |  |  |
| ## Amenities |  |  |
| Adequate provision/location of toilets and hand washing facilities |  |  |
| Availability of drinking water for staff and attendees |  |  |
| Adequate facilities for food catering preparation and clean up |  |  |
| Adequate shade from sun/availability of sunscreen as required for staff and attendees |  |  |
| ## Event Signage |  |  |
| Adequate signage for entries, exits, toilet facilities, waste or recycling bins, etc. |  |  |
| Adequate signage for any hazardous/restricted areas |  |  |
| Clearly signed First Aid services and fire extinguisher locations |  |  |
| ## Event Emergency Procedures |  |  |
| Emergency Response Plan documented and in place |  |  |
| Emergency Response personnel trained to carry out plan for event emergency |  |  |
| Current site maps available to all staff, emergency services and other relevant parties |  |  |
| ## Fire Prevention |  |  |
| Suitable fire extinguishers/fire blankets are in appropriate areas, tested and in date |  |  |
| Event personnel are trained in extinguisher/fire blanket use, where appropriate |  |  |
| All staff and volunteers are aware of the fire evacuation procedures relevant to the planned event |  |  |
| Arrangements for smoking are in place |  |  |
| ## First Aid |  |  |
| First Aid Stations are suitably located, clearly signed and accessible |  |  |
| First Aid facilities are suitable for the type of event |  |  |
| Effective means of communication provided between event personnel and First Aid facilities or personnel |  |  |
| ## Maintenance – Facilities Management (FM) Help Desk (83000) |  |  |
| Qualified and competent personnel to undertake maintenance/repairs |  |  |
| Maintenance personnel have been notified and have Event Coordinator details and means of communicating (i.e. Two-way radio or Mobile Phone) |  |  |
| Records kept of any maintenance undertaken |  |  |
| ## Electrical Power/Generators |  |  |
| Power access required Yes No |  |  |
| Details of power required: Generator 3 phase 240V |  |  |
| Facilities Management must be consulted about electrical energy services available before use |  |  |
| Contact details for power |  |  |
| Facilities Management Name: Phone: |  |  |
| GU Electrical Name: Phone: |  |  |
| Generator Hire Name: Phone: |  |  |
| Power site plan attached Yes No |  |  |
| Portable Residual Circuit Devices (RCDs) are used where required |  |  |
| No double adaptors or piggy back plugs are used |  |  |
| All portable (specified) electrical equipment including power leads, power boards have been inspected and tested in accordance with Qld Electrical Safety Regulation (Double insulated – annually, not double insulated – every 6 months) |  |  |
| All portable (specified) electrical equipment including power leads, power boards are connected to a Type 1 or 2 Safety Switch |  |  |
| Adequate protection of the public from electric shock or trip hazards |  |  |
| All electrical leads and electrical equipment are placed in safe locations, e.g. not on top of unstable surfaces or across pathways |  |  |
| All leads, plugs, etc. are protected from the weather and hazards such as water or other liquids, etc. |  |  |
| Generators (if used) are placed in a safe location and are fenced or sectioned off from the public |  |  |
| Exhaust gas is vented to an open area, not affecting air intakes for HVAC systems |  |  |
| ## Utilities/Site Services |  |  |
| Location of all site underground services (power/gas/ electrical/mains, etc.) and overhead power lines have been identified |  |  |
| Relevant personnel or contractors have maps or information identifying underground and overhead site services |  |  |
| Any unsafe or restricted areas are communicated to the Event Coordinator |  |  |
| Additional or alternate waste removal services have been arranged with FM |  |  |
| Adequate number of recycling and general waste bins have been organised and located |  |  |
| Campus cleaning coordinator has been contacted |  |  |
| Name: Email: Phone: |  |  |
| Extra bins requested, if required |  |  |
| ## Permits, Licensing and Registration |  |  |
| ### Fireworks |  |  |
| No fireworks or pyrotechnic displays will be permitted on premises |  |  |
| No performances, displays or interactive activities involving fire will be permitted on premises, e.g. fire eating, fire breathing, fire dancing, walking on coals |  |  |
| ### Mobile Plant |  |  |
| Forklifts, cranes, etc. are only operated by licensed or certified operators |  |  |
| ### LPG/Dangerous Goods |  |  |
| Event storage meets legal requirements |  |  |
| ### Alcohol |  |  |
| Consumption for events on GU sites is prohibited unless prior approval has been obtained from Campus Life. A temporary alcohol permit is required, or existing facility licences are extended for the event |  |  |
| Alcohol will be provided for this event Yes No |  |  |
| If yes, has an application for a Liquor Licence been made? Yes No |  | Attach a copy of the application Date of application |
| What non-alcoholic options will be made available for attendees? |  |  |
| If event is using Bar Licence complete the following: Approved by Bar Manager: Yes No Date: / / Time: Approved by GU: Yes No Date: / / Time: |  |  |
| Liquor Management Plan Implemented – Responsible Service of Alcohol practices in place. Provide details |  |  |
| ### Food |  |  |
| Will be served at this event: Yes No |  |  |
| Groups/persons responsible for provision of food |  |  |
| Name/Group: Holds Food Licence/Permit: Yes No Contact person: Phone: Mobile: Email: |  | Attach Licence copy |
| Name/Group: Holds Food Licence/Permit: Yes No Contact person: Phone: Mobile: Email: |  | Attach Licence copy |
| If the group does not hold a food licence what food safety control measures will be used to ensure the health of people attending the event? |  |  |
| Food Safety Plant to be implemented |  |  |
| Approved by Event Coordinator: Yes No |  |  |
| Additional food safety measures required (Campus Life or Event Coordinator) |  |  |
| ### Police |  |  |
| Permit for a road event |  |  |
| ### Emergency Services Fire Permit |  |  |
| Days of Total Fire Bank, Fireworks, etc. |  |  |
| ### Job Safety Analysis/Safety Plan |  |  |
| Collected from relevant contractors covering all above permits/licences and plant registration |  |  |
| ## Staging and Platforms, Marquees, Stalls, Vans or other Temporary Structures |  |  |
| All stages are signed off by a certified rigger/scaffolder and are erected by personnel with appropriate training and certifications (as required) |  |  |
| Platforms are continuously monitored, particularly in extreme weather conditions |  |  |
| Adequate access and egress around all staging and platforms for event patrons and emergency |  |  |
| Marquees, tents, food vans or other structures are erected or sited securely and do not encroach on thoroughfares/clear paths |  |  |
| ## Noise |  |  |
| The event will include amplified music, speeches, etc. Yes No |  |  |
| Details of expected event noise: |  |  |
| Noise control measures to be used to minimise disruption to GU business activity: |  |  |
| ## Work at Heights – Banner, flag or sign erection |  |  |
| Permission is obtained from FM for erection of banners or other large display items (Note: where erection relies on attachment or connection to University buildings or structures, specific consultation with FM Maintenance Manager is required) |  |  |
| Ladders are well-maintained and suitable for work undertaken and weight (industrial rated) |  |  |
| No work done from ladders unless 3 points of contact able to be maintained at all times, e.g. 2 feet and 1 hand |  |  |
| Assistance of a second person is provided where required, e.g. holding ladder for stability, carrying and erecting |  |  |
| Right type of equipment is used for the height access job, i.e. ladder, cherry picker, etc. |  |  |
| Boom lift (cherry picker) operators use appropriate safety body harness attached to bucket |  |  |
| ## Manual Tasks |  |  |
| All staff and volunteers are trained to assess each task and use safe techniques when lifting and carrying |  |  |
| Loads are able to be delivered as close as possible to area using vehicle or mechanical aids (e.g. trolley) |  |  |
| ## Liquid Petroleum Gas (LPG) and Heaters |  |  |
| Small volume gas cylinders are used where possible |  |  |
| LPG cylinders are secured for stability |  |  |
| LPG cylinders are used clear of unwanted ignition sources and are only used in a well-ventilated area |  |  |
| LPG cylinders are checked to ensure they do not exceed 10 years of the stamped test date |  |  |
| Safe use of LPG complies with AS/NZS 1596:2002 – Storage and Handling of LPG Gas |  |  |
| ## Weather Conditions |  |  |
| Current Australian Bureau of Meteorology information is checked for adverse weather conditions |  |  |
| Weather conditions are planned for and monitored, e.g. non-slip mats, shade, sunscreen and drinking water is available |  |  |
| Wind speeds are monitored and amusement structure operation will be ceased in accordance with manufacturer’s specifications (e.g. inflatable structures must cease operation when wind speed reaches 40km per hour) |  |  |
| ## Personal Protective Equipment (PPE) |  |  |
| All tasks to be undertaken by staff and volunteers are checked for the correct PPE, and it is provided if required (e.g. gloves, aprons, earplugs, closed toe shoes, waterproof jacket, etc.) – Separate risk assessments may be required for high risk tasks |  |  |
| Personnel are trained in using, maintaining and storing the PPE |  |  |
| High visibility safety clothing conforming to AS/NZ 4602 must be worn by event staff at all times when it is important for a person in a situation to be easily seen |  |  |
| ## Security |  |  |
| Appropriate security levels have been arranged with GU Security, or organised externally for the event (Note: 1 Security person required for 50 persons) |  |  |
| Number of security personnel required: Provide copy of schedule: Yes No |  |  |
| Name of external Security Company at Event: Licence Number: Security Company Contact Name: Phone: Email: Facsimile: |  |  |
| Crowd control measures to be used |  |  |
| Cash handling safety procedures or arrangements that have been made and will be implemented |  |  |
| ## Accessibility |  |  |
| Ramps are in place to provide access into buildings |  |  |
| Disabled Access Parking is available close to the event |  |  |
| The event itself is easily accessible (e.g. for patrons in wheelchairs, with prams, using walking aids, etc.) |  |  |
| Entry/exit area is accessible (e.g. for patrons in wheelchairs, with prams, using walking aids, etc.) |  |  |
| ## Amusement Devices or Structures |  |  |
| There will be amusement devices or structures operating at this event: Yes No |  |  |

As per Queensland Work Health and Safety Act 2011 – an amusement device means a device –

- used for commercial purposes; and

- used or designed to be used for amusement, games, recreation, sightseeing or entertainment, and on which persons may be carried, raised, lowered or supported by any part of the device (including, for example, any car, carriage, platform, cage, boat, plant, chair, seat or thing) while the part of the device is in motion.

Please complete the additional Amusement Device or Structure Safety Checklist for Event Operators, and submit with this event application.

| Proprietor: | Structure Type: | Registration No: |
| --- | --- | --- |
| Proprietor: | Structure Type: | Registration No: |
| Proprietor: | Structure Type: | Registration No: |

A copy of the Plant Registration Certificate and Maintenance/Inspection Checklist for each device must be provided with the Amusement Device or Structure Safety Checklist.

# Examples of Event Hazards

| # Hazard Type | # Example |
| --- | --- |
| # Accessibility | Access to venues Egress Parking Public transport Ramps Seating Signage |
| # Bump in Stage | Electrical safety Erection of temporary structures Facilities Management approval Interface with normal business activities Maintaining public access Plant Slips/trips Unauthorised access Weather |
| # Contractors | Accreditation Communication Contracts Co-ordinating contractors Job safety analysis/risk assessment/safety plan Legal compliance Training/Licencing |
| # Electrical Safety | Cables/height/pathways Faulty insulation Faulty power tools Location, in relation to other equipment Overloading systems/switchboards Power supply – no spiking Protection of leads Qualification of contractors Underground services |
| # Fire Safety | Appropriate fire fighting equipment Dangerous goods storage Evacuation plans Fire ban days Fire prevention plan Knowledge and use of equipment Obstruction and security of fire fighting equipment Pyrotechnics (fireworks or fire amusement displays) Warning and communication system |
| # Hazardous Substances/ Dangerous Goods | Cleaning products Fuel storage Inappropriate labelling Poisons Pyrotechnics, explosives Water/waste water |
| # Legal | Interaction with law enforcement agencies Unsolicited acts of violence, theft |
| # Manual Tasks | Crowd control – security Excessive weight or awkward dimensions Lack of mechanical aids Lack of staff Poor packaging by suppliers Time lines/lead times Training |
| # Materials Handling | Condition of terrain, path of travel Food handling safety Furniture fixture and equipment Mechanical handling Transport between venues/locations/storage Weights, height, dimensions |
| # People | Alcohol Background checks of staff Inappropriate use of staff Lack of relevant certification/licences Patron demographics Security staff numbers Training/induction |
| # Planning | Contingency planning Emergency management Possible acts of terrorism |
| # Plant | Certification Isolation/segregation – people Poor or absent maintenance Supervision of operation Training |
| # Security | Bomb threats Cash handling |
| # Slips and Trips | # Adverse weather # Climbing for vantage points # Edge protection # Electrical cables across pathways # Flooring design/surfaces # Inadequate queuing systems # Inappropriate footwear # Poor design or placement of barriers # Poor lighting # Uneven ground, loose surfaces |
| # Staff | # Competency/suitability # Conditions – excessive heat/cold # Crowd misbehaviour # Cultural issues # Fatigue # First aid # Food preparation/safety # Sun exposure – sunscreen # Transport # Violence # Welfare – breaks |
| # The Event | Asset protection Communication equipment Entry control |
| # Vehicle Safety | Accessibility during emergency Electrical safety Inappropriate use of paths for vehicles Lack of training Loading operations – docks and people Maintenance Management Outdoor broadcast vehicles Parking supervision Permits and certification/licensing Refuelling Security of vehicles Speed Vehicle/people segregation |
| # Working at Height | Camera platforms Edge protection (off roofs or platforms) Improper use of safety harnesses Proximity to overhead power lines Rigging/lighting Scaffolds – licensed/trained erectors Unsafe use of ladders Unsafe use of winches |

Access the current Risk Management Framework document to assist you in considering your risks.